DIVISION 26 00 00					ELECTRICAL

SECTION 26 50 00 				LIGHTING

SECTION 26 56 00 				EXTERIOR LIGHTING

3RIVERS PEDESTRIAN LIGHTING

Part 1		General

- Summary

  - Section Includes:

    - 3Rivers Pedestrian Lighting.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of outdoor lighting.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using outdoor lighting fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide pedestrian lighting fixture based on the product named:

    - 3Rivers Pedestrian by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
30 Pine Street
Pittsburgh, PA 15223
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Pedestrian lighting fixtures

    - Materials

      - Base plate: .75" thick structural aluminum.

      - Base plate cover: cast aluminum.

      - Pole: oval-shaped heavy wall extruded aluminum with gasketed hand hole.

      - Reflective panel: oval-shaped aluminum.

      - Driver: Electronic, 100/277VAC

        - LED Light Engine (Select temperature below):

            - 3000K LED chip and board

              - 50W.

              - Luminaire lumens: 2392.

              - Color temperature: 3,000K.

            - 4000K LED chip and board

              - 50W.

              - Luminaire lumens: 2705.

              - Color temperature: 4,000K.

    - Finish: Polyester powdercoat (Choose one color below):

      - Standard Texture from Forms+Surfaces Powdercoat Chart.

      - Custom RAL powdercoat color.

    - Dimensions

      - Overall height (With reflective panel at standard 15° above horizontal): 195".

      - Pole height: 166".

      - Reflective panel: 29" x 42" oval x 1/2" thick.

    - Mounting: Surface mount: 0.75” thick aluminum base plate with cast aluminum base cover. Stainless steel mounting hardware sold separately. Template available upon request.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION