DIVISION 12 00 00					FURNISHINGS

SECTION 12 93 00 				SITE FURNISHINGS

SECTION 12 93 43 				SITE SEATING AND TABLES

SECTION 12 93 43.13 		SITE SEATING

LEDA BENCH

Part 1		General

- Summary

  - Section Includes:

    - Backed, 6 foot, straight bench with arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backed, 8 foot, straight bench with arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backed, 6 foot, straight bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backed, 8 foot, straight bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backless, 6 foot, straight bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backless, 8 foot, straight bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backless, 6 foot, curved bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

    - Backless, 8 foot, curved bench without arms, cast aluminum frame, FSC 100% Ipé hardwood slats.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Forest Stewardship Council (“FSC”) Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide benches based on the product named:

    - Leda Bench by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
30 Pine Street
Pittsburgh, PA 15223
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Benches

    - Materials:

      - Seat slats: FSC certified Ipé hardwood.

      - Bench frame: cast aluminum.

    - Finishes

      - Seat slats: penetrating oil finish.

        - Finish color: Penofin® hardwood formula “Transparent Natural.”

      - Bench frame: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

    - Dimensions (Select model(s) below):

      - Backed 3-seat straight bench with arms: 75.63" long x 24" deep x 31" high. Seat height 17.16" high.

      - Backed 4-seat straight bench with arms: 99.63" long x 24" deep x 31" high. Seat height 17.16" high.

      - Backed 3-seat straight bench without arms: 72" long x 22" deep x 30" high. Seat height 17.16" high.

      - Backed 4-seat straight bench without arms: 96" long x 22" deep x 30" high. Seat height 17.16" high.

      - Backless 3-seat straight bench without arms: 72" long x 20.15" deep x 17" high.

      - Backless 4-seat straight bench without arms: 96" long x 20.15" deep x 17" high.

      - Backless 3-seat curved bench without arms: 72" long x 26.5" deep x 17" high. Inside radius 51.85", outside radius 72".

      - Backless 4-seat curved bench without arms: 96" long x 34" deep x 17" high. Inside radius 47.73", outside radius: 67.88".

    - Installation (Select mounting option below):

      - Freestanding.

      - Surface mount (stainless steel anchors and mounting bolts are sold separately).

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION